## Slide 1: MRI PLANNING
Setting up slices and coverage

## Slide 2: BRAIN-CENTER TO GLABELLA
Plane | Coverage
Sagittal | The FOV will cover from just above the head to the second vertebral body and entire brain from P to A
Coronal | align parallel with the longitudinal fissure to cover entire brain L to R
Axial | align parallel with the longitudinal fissure to cover entire brain L to R
Sagittal

## Slide 3: BRAIN
Plane | Coverage
Sagittal | align using the inferior aspect of the Genu and Splenium for reference and cover the brain from the top of the skull through the foramen magnum
Coronal | align perpendicular to longitudinal fissure
Axial | The FOV will cover the entire brain from L to R and P to A
Axial

## Slide 4: BRAIN
Plane | Coverage
Sagittal | align parallel to the midbrain and cover entire brain P to A
Coronal | The FOV will cover from just above the head to the second vertebral body and entire brain from L to R
Axial | align perpendicular to longitudinal fissure
Coronal

## Slide 5: BRAIN & IAC’S
Plane | Coverage
Sagittal | align perpendicular to the midbrain and cover entire brain P to A
Coronal | align parallel with the IAC’s and cover from above the IAC’s to the foramen magnum
Axial | The FOV will cover the entire brain from L to R and P to A
Axial

## Slide 6: BRAIN & IAC’S
Plane | Coverage
Sagittal | align parallel to the midbrain
Coronal | The FOV will cover the entire brain from L to R and S to I
Axial | align parallel with the IAC’s and cover from the sella to the fourth ventricle
Coronal

## Slide 7: BRAIN & PITUITARY
Plane | Coverage
Sagittal | The FOV will cover entire pituitary gland
Coronal | align parallel with the longitudinal fissure and cover medial portion of temporal lobes
Axial | align parallel with the longitudinal fissure
Sagittal

## Slide 8: BRAIN & PITUITARY
Plane | Coverage
Sagittal | align parallel to the midbrain and cover from the sphenoid sinus through the infundibulum
Coronal | The FOV will cover the entire pituitary gland
Axial | align perpendicular to longitudinal fissure
Coronal

## Slide 9: BRAIN & ORBITS
Plane | Coverage
Sagittal | align perpendicular with optic nerves
Coronal | The FOV will cover bilateral optic nerves
Axial | align perpendicular with optic nerves and cover from the cornea through the optic chiasm
Coronal

## Slide 10: BRAIN & ORBITS
Plane | Coverage
Sagittal | align parallel with optic nerve and cover from the floor of the orbits to the roof
Coronal | align parallel to bilateral optic nerves
Axial | The FOV will cover from the cornea through the optic chiasm
Axial

## Slide 11: BRAIN FOR SIEZURE
Plane | Coverage
Sagittal | align perpendicular to the temporal lobes covering through the brain
Coronal | The FOV will cover from just above the head to the second vertebral body and entire brain from L to R
Axial | align perpendicular to the temporal lobes covering from through the brain
Coronal

## Slide 12: MRA HEAD-CENTER AT GLABELLA
Plane | Coverage
Sagittal | align perpendicular to brain stem and cover from foramen magnum to just above corpus callosum
Coronal | align perpendicular to the longitudinal fissure
Axial | The FOV will cover the entire brain from L to R and P to A
Axial 3D TOF

## Slide 13: MRV HEAD
Plane | Coverage
Sagittal | align perpendicular to the head and cover from foramen magnum to just above scalp
Coronal | align perpendicular to the longitudinal fissure
Axial | The FOV will cover the entire head from L to R and P to A
Axial 2D TOF

## Slide 14: MRV HEAD
Plane | Coverage
Sagittal | align parallel to the brain stem and cover entire head P to A
Coronal | The FOV will cover the entire head from L to R and P to A
Axial | align perpendicular to the longitudinal fissure
Coronal 2D TOF

## Slide 15: MRV HEAD
Plane | Coverage
Sagittal | The FOV will cover from just above the head to the second vertebral body and entire brain from P to A
Coronal | align parallel with the longitudinal fissure
Axial | align parallel with the longitudinal fissure
Sagittal PC

## Slide 16: MRA NECK CENTER AT C4
Plane | Coverage
Sagittal | align perpendicular to the carotid arteries - center at bifurcation and cover 2 inches above and below carotid arteries
Coronal | align perpendicular to the carotid arteries
Axial | The FOV will cover the entire neck from L to R and P to A
Axial 2D TOF

## Slide 17: MRA NECK
Plane | Coverage
Sagittal | align perpendicular to the carotid arteries - center at bifurcation and cover 2 inches above and below carotid arteries
Coronal | align perpendicular to the carotid arteries
Axial | The FOV will cover the entire neck from L to R and P to A
Axial 3D TOF

## Slide 18: MRA NECK
Plane | Coverage
Sagittal | align parallel to the carotid arteries
Coronal | The FOV will cover from the arch of the heart to the Circle of Willis to include both right and left carotid and vertebral arteries
Axial | align parallel to the carotid arteries
Axial 2D TOF GLOBAL

## Slide 19: MRA NECK
Plane | Coverage
Sagittal | align parallel to the carotid arteries
Coronal | The FOV will cover from the arch of the heart to the Circle of Willis to include both right and left carotid and vertebral arteries
Axial | align parallel to the carotid arteries
Coronal 3D Contrast Enhanced

## Slide 20: MRA RENAL ARTIERIES CENTER AT L2
Plane | Coverage
Sagittal | align parallel to the abdominal aorta
Coronal | The FOV will cover from the diaphragm to include both right and left proximal iliac arteries
Axial | align orthogonally
Coronal 3D Contrast Enhanced

## Slide 21: MRA AORTA CENTER AT T7
Plane | Coverage
Sagittal | align orthogonally to cover above the aortic arch to just below diaphragm
Coronal | align orthogonally
Axial | The FOV will include Thoracic and Descending Aorta
Axial

## Slide 22: MRA AORTA
Plane | Coverage
Sagittal | align with angle of the aortic arch
Coronal | The FOV will cover above the aortic arch to just below diaphragm
Axial | align orthogonally
Sagittal

## Slide 23: SOFT TISSUE NECK CENTER AT C4
Plane | Coverage
Sagittal | The FOV will cover from sella to aortic arch and entire soft tissue neck P to A
Coronal | align parallel to cervical spine
Axial | align parallel to spinous process of the cervical spine
Sagittal

## Slide 24: SOFT TISSUE NECK
Plane | Coverage
Sagittal | align parallel to cervical spine
Coronal | The FOV will cover from sella to aortic arch and entire soft tissue neck L to R
Axial | align perpendicular to spinous process of the cervical spine
Coronal

## Slide 25: SOFT TISSUE NECK
Plane | Coverage
Sagittal | align perpendicular to the cervical spine
Coronal | align perpendicular to the cervical spine
Axial | The FOV will cover affected area
Axial

## Slide 26: BRACHIAL PLEXUS CENTER AT C4
Plane | Coverage
Sagittal | The FOV will cover affected area or from C4 to T2
Coronal | align parallel to cervical spine and cover the middle of cervical spine to shoulder
Axial | align orthogonally
Sagittal

## Slide 27: BRACHIAL PLEXUS
Plane | Coverage
Sagittal | align parallel to cervical spine and cover the middle of cervical spine to shoulder
Coronal | The FOV will cover affected area or from C4 to T2
Axial | align orthogonally
Coronal

## Slide 28: BRACHIAL PLEXUS
Plane | Coverage
Sagittal | align perpendicular to the cervical spine
Coronal | align perpendicular to the cervical spine and cover the middle of cervical spine to shoulder
Axial | The FOV will cover affected area or from C4 to T2
Axial

## Slide 29: CERVICAL SPINE CENTER AT C4
Plane | Coverage
Sagittal | The FOV will cover from the foramen magnum to second thoracic vertebrae
Coronal | align parallel to cervical spine and cover through the neural foramen of each disc space L to R
Axial | align orthogonally
Sagittal

## Slide 30: CERVICAL SPINE
Plane | Coverage
Sagittal | align parallel to cervical spine
Coronal | The FOV will cover from the foramen magnum to second thoracic vertebrae
Axial | align perpendicular to spinous process of the cervical spine
Coronal

## Slide 31: CERVICAL SPINE
Plane | Coverage
Sagittal | align perpendicular to the cervical spine
Coronal | align perpendicular to the cervical spine
Axial | The FOV will cover the cervical spine and nerve roots
Axial

## Slide 32: THORACIC SPINE
Plane | Coverage
Sagittal | The FOV will cover from the body of C7 to the body of L1
Coronal | align parallel to thoracic spine and cover through the neural foramen of each disc space L to R
Axial | align orthogonally
Sagittal

## Slide 33: THORACIC SPINE
Plane | Coverage
Sagittal | align parallel to thoracic spine
Coronal | The FOV will cover from the body of C7 to the body of L1
Axial | align perpendicular to spinous process of the thoracic spine
Coronal

## Slide 34: THORACIC SPINE
Plane | Coverage
Sagittal | align perpendicular to the thoracic spine
Coronal | align perpendicular to the thoracic spine
Axial | The FOV will cover the thoracic spine and nerve roots
Axial

## Slide 35: LUMBAR SPINE CENTER AT L3
Plane | Coverage
Sagittal | The FOV will cover from the body of T12 to the body S2
Coronal | align parallel to lumbar spine and cover through the neural foramen of each disc space L to R
Axial | align orthogonally
Sagittal

## Slide 36: LUMBAR SPINE
Plane | Coverage
Sagittal | align parallel to lumbar spine
Coronal | The FOV will cover from the body of C7 to the body of L1
Axial | align perpendicular to spinous process of the lumbar spine
Coronal

## Slide 37: LUMBAR SPINE
Plane | Coverage
Sagittal | align perpendicular to the lumbar spine
Coronal | align perpendicular to the lumbar spine
Axial | The FOV will cover the lumbar spine and nerve roots
Axial

## Slide 38: SACRUM CENTER AS ASIS
Plane | Coverage
Sagittal | The FOV will cover from the body of L5 to coccyx
Coronal | align parallel to SI joints to cover through entire sacrum from L to R
Axial | align parallel to SI joints
Sagittal

## Slide 39: SACRUM
Plane | Coverage
Sagittal | align parallel to sacrum
Coronal | The FOV will cover from the body of L5 to coccyx
Axial | align perpendicular to the sacrum
Coronal

## Slide 40: SACRUM
Plane | Coverage
Sagittal | align perpendicular to the sacrum to cover from the body of L5 to coccyx
Coronal | align perpendicular to the sacrum
Axial | The FOV will cover the SI joints to cover through entire sacrum
Axial

## Slide 41: PELVIS CENTER AT ASIS
Plane | Coverage
Sagittal | align orthogonally
Coronal | The FOV will cover the entire pelvis
Axial | alignment parallel to a line across the roof each acetabulum
Coronal

## Slide 42: PELVIS
Plane | Coverage
Sagittal | align orthogonally
Coronal | alignment parallel to a line across the roof each acetabulum
Axial | The FOV will cover the entire pelvis
Axial

## Slide 43: FEMALE PELVIS CENTER AT ASIS
Plane | Coverage
Sagittal | The FOV will cover the pelvis
Coronal | align parallel to the vaginanal cavity to cover from asis to asis
Axial | align orthogonally
Sagittal

## Slide 44: FEMALE PELVIS
Plane | Coverage
Sagittal | align perpendicular to the stripe of the uterine cavity
Coronal | The FOV will cover uterus and ovaries
Axial | align parallel to pubis symphisis
Coronal

## Slide 45: FEMALE PELVIS
Plane | Coverage
Sagittal | align parallel to the stripe of the uterine cavity
Coronal | align perpendicular to vaginanal cavity
Axial | The FOV will cover uterus and ovaries
Axial

## Slide 46: URETHRA CENTER AT GREATER TROCHANTER
Plane | Coverage
Sagittal | The FOV will cover from above the bladder to below the labia
Coronal | align parallel to vagina
Axial | align orthogonally
Sagittal

## Slide 47: URETHRA
Plane | Coverage
Sagittal | align parallel to vagina
Coronal | The FOV will cover from above the bladder to below the labia
Axial | align orthogonally
Coronal

## Slide 48: URETHRA
Plane | Coverage
Sagittal | align perpendicular to the urethra
Coronal | align perpendicular to vagina
Axial | The FOV will cover urethra and vagina
Axial

## Slide 49: PLACENTA CENTER AT ILIAC CREST
Plane | Coverage
Sagittal | The FOV will cover the area of interest
Coronal | align orthogonally to cover the area of interest
Axial | align orthogonally to cover the area of interest
Sagittal

## Slide 50: PLACENTA
Plane | Coverage
Sagittal | Angle with placenta
Coronal | The FOV will cover the area of interest
Axial | align orthogonally to cover the area of interest
Coronal

## Slide 51: PLACENTA
Plane | Coverage
Sagittal | align orthogonally to cover the area of interest
Coronal | align orthogonally to cover the area of interest
Axial | The FOV will cover the area of interest
Axial

## Slide 52: APPENDIX CENTER AT ILIAC CREST
Plane | Coverage
Sagittal | align orthogonally to cover the area of interest
Coronal | The FOV will cover the area of interest
Axial | align orthogonally to cover the area of interest
Coronal

## Slide 53: APPENDIX
Plane | Coverage
Sagittal | align orthogonally to cover the area of interest
Coronal | align orthogonally to cover the area of interest
Axial | The FOV will cover the area of interest
Axial

## Slide 54: PROSTATE CENTER AT GREATER TROCHANTER
Plane | Coverage
Sagittal | The FOV will cover from the sacrum to pubic symphysis and seminal vesicles through bulb of the corpus spongiosum
Coronal | align perpendicular to pubis symphisis and cover L to R to include the seminal vesicles
Axial | align parallel to pubis symphisis
Sagittal

## Slide 55: PROSTATE
Plane | Coverage
Sagittal | align orthogonally
Coronal | The FOV will cover seminal vesicles through bulb of the corpus spongiosum
Axial | align parallel to pubis symphisis
Coronal

## Slide 56: PROSTATE
Plane | Coverage
Sagittal | align orthogonal slices to cover seminal vesicles through bulb of the corpus spongiosum
Coronal | align parallel to pubis symphisis
Axial | The FOV will cover from the sacrum to pubic symphysis and seminal vesicles through bulb of the corpus spongiosum
Axial

## Slide 57: RECTUM CENTER AT ASIS
Plane | Coverage
Sagittal | The FOV will cover rectum through area of interest
Coronal | align parallel to bowel wall to cover through affected area
Axial | align orthogonally
Sagittal

## Slide 58: RECTUM
Plane | Coverage
Sagittal | align parallel to bowel wall to cover through affected area
Coronal | The FOV will cover rectum through area of interest
Axial | align parallel to pubis symphisis
Coronal

## Slide 59: RECTUM
Plane | Coverage
Sagittal | align perpendicular to bowel
Coronal | align perpendicular to bowel
Axial | The FOV will cover area of interest
Axial

## Slide 60: FISTULA CENTER TO ASIS
Plane | Coverage
Sagittal | The FOV will cover the anterior abdominal wall through the body posteriorly
Coronal | align orthogonally centered to the pelvis
Axial | align orthogonally centered to the pelvis
Sagittal

## Slide 61: FISTULA
Plane | Coverage
Sagittal | align orthogonally centered to the area of interest
Coronal | The FOV will cover posterior to anterior through the area of interest
Axial | align orthogonally centered to the area of interest
Coronal

## Slide 62: FISTULA
Plane | Coverage
Sagittal | align orthogonally centered to the area of interest
Coronal | align orthogonally centered to the area of interest
Axial | The FOV will cover posterior to anterior through the area of interest
Axial

## Slide 63: MRCP CENTER AT DIAPHRAGM
Plane | Coverage
Sagittal | align parallel to CBD
Coronal | The FOV will cover from diaphragm through duodenum
Axial | align orthogonally and cover biliary tree and pancreas
Coronal

## Slide 64: MRCP
Plane | Coverage
Sagittal | align perpendicular to the body
Coronal | align perpendicular to the body cover from diaphragm through liver
Axial | The FOV will cover entire abdomen
Axial

## Slide 65: LIVER CENTER AT DIAPHRAGM
Plane | Coverage
Sagittal | align parallel to body
Coronal | The FOV will cover from diaphragm through through tail of liver
Axial | align perpendicular to the body
Coronal

## Slide 66: LIVER
Plane | Coverage
Sagittal | align perpendicular to the body
Coronal | align perpendicular to the body cover from diaphragm through tail of liver
Axial | The FOV will cover entire abdomen
Axial

## Slide 67: PANCREAS CENTER AT DIAPHRAGM
Plane | Coverage
Sagittal | align parallel to body
Coronal | The FOV will cover from diaphragm through through duodenum
Axial | align perpendicular to the body
Coronal

## Slide 68: PANCREAS
Plane | Coverage
Sagittal | align perpendicular to the body
Coronal | align perpendicular to the body cover from diaphragm through duodenum
Axial | The FOV will cover entire abdomen
Axial

## Slide 69: KIDNEYS CENTER AT ILIAC CREST
Plane | Coverage
Sagittal | align parallel to body
Coronal | The FOV will cover from adrenals through bilateral kidneys
Axial | align perpendicular to the body
Coronal

## Slide 70: KIDNEYS
Plane | Coverage
Sagittal | align perpendicular to the body
Coronal | align perpendicular to the body cover from adrenals through bilateral kidneys
Axial | The FOV will cover entire abdomen
Axial

## Slide 71: ADRENALS CENTER AT ILIAC CREST
Plane | Coverage
Sagittal | align parallel to body
Coronal | The FOV will cover from adrenals through bilateral kidneys
Axial | align perpendicular to the body
Coronal

## Slide 72: ADRENALS
Plane | Coverage
Sagittal | align perpendicular to the body
Coronal | align perpendicular to the body cover from adrenals through bilateral kidneys
Axial | The FOV will cover entire abdomen
Axial

## Slide 73: SHOULDER CENTER AT GLENOHUMERAL JOINT
Plane | Coverage
Sagittal | align orthogonally
Coronal | align perpendicular to the glenohumeral joint to cover AC joint through glenohumeral joint
Axial | The FOV will cover deltoid to medial border of scapula
Axial

## Slide 74: SHOULDER
Plane | Coverage
Sagittal | align orthogonally
Coronal | The FOV will cover from AC joint through glenohumeral joint
Axial | align parallel to supraspinatous muscle or perpendicular to glenohumeral joint
Coronal

## Slide 75: SHOULDER
Plane | Coverage
Sagittal | The FOV will cover from AC joint through glenohumeral joint
Coronal | align parallel to glenohumeral joint from scapular notch through head of humerus
Axial | align perpendicuar to supraspinatous muscle or parallel to glenohumeral joint
Sagittal

## Slide 76: ELBOW CENTER AT EPICONDYLES
Plane | Coverage
Sagittal | align perpendicular to ulna and radius
Coronal | align perpendicular to ulna and radius to cover from radioulnar joint through base of metacarpals
Axial | The FOV will cover entire wrist joint
Axial

## Slide 77: ELBOW
Plane | Coverage
Sagittal | align parallel to the shaft of the humerus
Coronal | The FOV will cover superior to the epicondyles through the radial tuberosity
Axial | align parallel to the epicondyles
Coronal

## Slide 78: ELBOW
Plane | Coverage
Sagittal | The FOV will cover superior to the epicondyles through the radial tuberosity
Coronal | align parallel to the shaft of the humerus
Axial | align perpendicular to the epicondyles
Sagittal

## Slide 79: WRIST CENTER AT CARPALS
Plane | Coverage
Sagittal | align perpendicular to ulna and radius
Coronal | align perpendicular to ulna and radius to cover from radioulnar joint through base of metacarpals
Axial | The FOV will cover entire wrist joint
Axial

## Slide 80: WRIST
Plane | Coverage
Sagittal | align parallel to ulna and radius
Coronal | The FOV will cover from radioulnar joint through base of metacarpals
Axial | align orthogonally
Coronal

## Slide 81: WRIST
Plane | Coverage
Sagittal | The FOV will cover from radioulnar joint through base of metacarpals
Coronal | align parallel to ulna and radius
Axial | align perpendicular to ulna and radius
Sagittal

## Slide 82: HAND CENTER TO PIP OF THIRD DIGIT
Plane | Coverage
Sagittal | align parallel to metacarpals and phalanges
Coronal | The FOV will cover from radioulnar joint to finger tips
Axial | align orthogonally
Coronal

## Slide 83: HAND
Plane | Coverage
Sagittal | The FOV will cover from radioulnar joint to finger tips
Coronal | align parallel to metacarpals and phalanges
Axial | align orthogonally
Sagittal

## Slide 84: HAND
Plane | Coverage
Sagittal | align parallel to metacarpals and phalanges
Coronal | align parallel to metacarpals and phalanges to cover from radioulnar joint to finger tips
Axial | The FOV will cover entire hand
Axial

## Slide 85: HIPS CENTER AT GREATER TROCHANTER
Plane | Coverage
Sagittal | align parallel to femoral shaft or orthoganal
Coronal | The FOV will cover from superior to the acetabulum through the lesser trochanter
Axial | align parallel to the neck of the femur and cover through the acetabulum or align parallel to the heads of both femurs
Coronal

## Slide 86: HIPS
Plane | Coverage
Sagittal | align perpendicular to femoral shaft or orthoganal
Coronal | align parallel to the neck of the femur and cover through the acetabulum or orthoganal
Axial | The FOV will cover entire will cover entire pelvis for bilateral exam and/or region of interest for unilateral exam
Axial

## Slide 87: HIPS
Plane | Coverage
Sagittal | The FOV will cover from superior to the acetabulum through the lesser trochanter
Coronal | align perpendicular to the femoral neck covering from the greater trochanter through the acetabulum
Axial | align perpendicular to the femoral neck, parallel to acetabulum, or orthoganal
Sagittal

## Slide 88: KNEE CENTER AT APEX
Plane | Coverage
Sagittal | align perpendicular to the femur and tibia and cover above patella through tibial tuberosity
Coronal | align parallel to the femoral condyles
Axial | The FOV will cover the entire knee
Axial

## Slide 89: KNEE
Plane | Coverage
Sagittal | align parallel to the femur and tibia
Coronal | The FOV will cover superior to patella through tibial tuberosity
Axial | align parallel to the medial aspect of the femoral condyle
Coronal

## Slide 90: KNEE
Plane | Coverage
Sagittal | The FOV will cover superior to patella through tibial tuberosity
Coronal | align parallel to the femoral condyles and cover through entire knee
Axial | align perpendicular to the femoral condyles
Sagittal

## Slide 91: ANKLE CENTER AT MORTISE JOINT
Plane | Coverage
Sagittal | align perpendicular to tibia/fibula sagittally and cover talofibular joint through the calcaneus
Coronal | align perpendicular to tibia/fibula
Axial | The FOV will cover all the tarsals
Axial

## Slide 92: ANKLE
Plane | Coverage
Sagittal | align parallel to the tibia to cover from achilles to base of metatarsals
Coronal | The FOV will cover superior to cover talofibular joint through the calcaneus
Axial | align perpendicular to the talus
Coronal

## Slide 93: ANKLE
Plane | Coverage
Sagittal | The FOV will cover superior to cover talofibular joint through the calcaneus
Coronal | align perpendicular to tibiotalar joint
Axial | align parallel to the talus
Sagittal

## Slide 94: FOOT CENTER MIDFOOT
Plane | Coverage
Sagittal | align parallel to metatarsals
Coronal | The FOV will cover distal tarsals through phalanges
Axial | align perpendicular to the talus
Coronal or Short axis

## Slide 95: FOOT
Plane | Coverage
Sagittal | align parallel to metatarsals covering entire foot left to right or orthoganal
Coronal | align parallel to metatarsals
Axial | The FOV will cover distal tarsals through phalanges
Axial or Long axis

## Slide 96: FOOT
Plane | Coverage
Sagittal | The FOV will cover distal tarsals through phalanges
Coronal | align perpendicular to coronal plane covering entire foot L to R
Axial | align parallel to the tarsals
Sagittal

## Slide 97: LONG BONE CENTER MIDSHAFT
Plane | Coverage
Sagittal | align parallel to shaft of bone
Coronal | The FOV will cover a joint through area of interest
Axial | align orthogonally
Coronal

## Slide 98: LONG BONE
Plane | Coverage
Sagittal | The FOV will cover a joint through area of interest
Coronal | align parallel to shaft of bone
Axial | align orthogonally
Sagittal

## Slide 99: LONG BONE
Plane | Coverage
Sagittal | align perpendicular to shaft of bone
Coronal | align perpendicular to shaft of bone
Axial | The FOV will cover affected area
Axial

## Slide 100: BREAST CENTER AT T7
Plane | Coverage
Sagittal | align orthogonally
Coronal | align orthogonally
Axial | The FOV will cover from axilla through entire breast
Axial

## Slide 101: BREAST
Plane | Coverage
Sagittal | The FOV will cover from axilla through entire breast
Coronal | align orthogonally
Axial | align orthogonally
Sagittal

## Slide 102: TMJ CENTER AT THE EAM
Plane | Coverage
Sagittal | The FOV will cover mandibular fossa L to R to include the ramus
Coronal | align parallel to ramus of mandible
Axial | align parallel to ramus of mandible
Sagittal

## Slide 103: TMJ
Plane | Coverage
Sagittal | align orthogonally
Coronal | The FOV will cover posterior to the mandibular fossa through coronoid process
Axial | align parallel bisecting the mandibular fossa bilaterally
Coronal